GENSET SPECIFICATION

| Lot No. | Technical Specification of items required including applicable standards | Compliance of specification offered |
| --- | --- | --- |
| a | B | C |
| General | Must be factory new when supplied |  |
| Body Type | - Designed and built at ISO 9001Certified facility - Factory tested to design specifications at full load condition - Fully engineered with a range of options and accessories |  |
| Engine | - Industrial water-cooled diesel engine - Governor mechanical - Electrical system 12 VDC - Cartridge type fuel and oil filters - Air filters - Battery (s) rack and cables - Sound proof |  |
| Generation Capacity | - Stand by - 40 KVA/ 32KW - Prime - 36.6 KVA/29 KW - 50HZ |  |
| Control System | - Key start control panel - Vibration isolated sheet steel - Enclosure with lockable door |  |
| Mounting | - Heavy duty fabricated steel base with fitting points - Ant vibration pads to ensure vibration isolation - Engine coupled to generator with flexible disc coupling - Base frame incorporates heavy duty fabricated steel fuel tank of at least 8 hours running capacity - Overhead mounting kit for silencer |  |
| Exhaust System | - Heavy duty industrial capacity exhaust silencer (Approximately 10Db reduction) supplied loose - ABS/EBD systems |  |
| Cooling System | - Standard ambient temperature up to 50OC (122OF) - Fan- fan drive and charging alternator fully guarded - Ant freeze protection coolant |  |
| Circuit Breaker | - 3 Phase miniature circuit breaker (mcb) 60amps and 3 pole molded case circuit breaker (mcb) more than or equal to 60 amps - Vibration isolated sheet steel enclosure with removable cover plate - Outgoing cable stub up area directly below circuit breaker |  |
| Automatic Regulator | - Voltage regulator ± 0.5% - Automatic change over - Provide fast recovery from transient load changes |  |
| Equipment Finish | - All electroplated hardware - Ant corrosive paint protection - High gloss polyurethane paint for durability and scuff resistance |  |
| Quality Standards | - BS4999,BS5000,DB5514,IEC60034,VDE0530 |  |
| Warranty | - Must carry 12 Months Full Manufacturer’s Warranty - Operating Manual |  |
| Installation and commissioning | - 37 Meters from ESCOM power distribution main |  |
| After sales Service | The supplier must have an authorised agent in Malawi to cater for repairs and spare parts. |  |